- OBJECTIVE:

-	To provide the instructions for cleaning of work bench in Chemical Laboratory

- SCOPE:

-	To provide written guidelines for cleaning of work bench in Chemical Laboratory.

3.0 RESPONSIBILITY/ACCOUNTABILITY:

- The analyst or designate cleans the laboratory workbench.

- The Quality Control Head or designate ensure that the cleaning activities is done accordingly.

4.0 ABBREVIATIONS AND DEFINITIONS

* N/A

- PROCEDURE

- Ensure that all cleaning equipment’s are clean i.e. soft cloth, bowls

- Clean all workbench and equipment with clean, soft cloth

- Fill a bowl with water then add disinfectant and detergent into them.

- Make sure that the benches are cleaned thoroughly using the prepared solution.

- Then clean the benches properly using soft cloths and water to remove the soap solution.

- Make sure all equipment are dried with the clean, soft cloth

- Wash and dry all the cleaning equipment.

Materials, Equipment, Apparatus and Reagents

- Deionized Water

- Soft Cloths

- Bowls

- Soap

- REFERENCE/ENCLOSURE

- Nil

- TRAINING INVOLVEMENT

Quality Manager

Quality control staff

All sectional heads in the quality department

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |