- OBJECTIVE:

To laydown procedure for chemical reagent usage.

- SCOPE:

This procedure is applicable to all chemical reagents used in quality control.

- RESPONSIBILITY/ACCOUNTABILITY:

Head of quality control department

Chemical Analyst

4.0 ABBREVIATIONS AND DEFINITIONS:

QC-Quality Control

- PROCEDURE:

- The analyst shall take the required reagent for usage from its designed storage place/ chemical store.

- Label all chemical reagents received with date of receipt and expiry date.

- Mention shelf life of all chemical reagent received for the sealed container condition.

- At the time of the opening of bottle label all chemical reagents with the date of opening and use before.

- Mention shelf life of all reagents for 2years from the date of opening the container.

- Record the above dates on separate label affixed on the container in such a way that it doesn’t obscure the manufacturer’s label.

- If the label is not affixed do not use such reagents.

- The analyst shall codify the reagents and arrange them in alphabetical order on the cupboard of the working table of the respective location.

- Do the coding of reagents coding at the time of its receipt, the designated person shall give the specific code to the reagent and maintain the list of reagents with code.

- After opening the reagent, if any abnormal observation is found in the physical appearance of the reagent, the analyst shall immediately inform the Head of QC or designee.

- Destroy the reagents after expiry date as per the procedure defined in the SOP for “Disposal of waste generated in quality control’’ by taking proper precaution.

- The analyst shall use a new chemical reagent.

- After using the required reagent, keep the container back to its designed place

- Store poisonous chemical reagents separately taking all safety precautions as per SOP.

- REFERENCE/ENCLOSURE:

- BML.QDG-CL-013-F01 – REAGENT USAGE LOG

- TRAINING INVOLVEMENT:

| Quality Control Head | Quality Control Chemist |
| --- | --- |
| Laboratory assistant | Warehouse Personnel |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |