- OBJECTIVE:

To lay down the procedure for preparation of culture dilutions use for microbial analysis in the laboratory.

- SCOPE:

This SOP covers the procedure for preparation of culture dilutions.

- RESPONSIBILITY/ACCOUNTABILITY:

- The microbiologist is responsible for following the procedures outlined in this SOP.

- The Quality Control Head is to ensure that the procedure outlined is followed

4.0 ABBREVIATIONS AND DEFINITIONS

- GLP: Good Laboratory Practice

- GDP: Good Documentation Practice

- CFU: Colony Forming Unit

- Dilution: Is the act of thinning or weakening; lessening of strength; reduction in concentration of a substance usually the addition of another substance such as water

- PROCEDURE

- Serial Dilution For the purpose of preparing appropriate microorganisms.

- Transfer working culture slant, inoculate a loop full of culture to 10ml of tryptic soy broth.

- Incubate the bacterial suspension at 30- 35°C for 48 hours & fungal suspension at 20 - 25°C for 72 hours for enrichment.

- Serially dilute the enriched suspension in 0.9% sterile saline solution in a ratio of 1: 10 dilutions by transferring as follows.

- Transfer the culture suspension in a sterile test tube.

- Collect the suspension in a sterile test tube.

- Vortex the culture suspension to obtain a uniform suspension.

- Carry out serial dilution so as to obtain a culture suspension of 10-100 CFU/ml by following the steps given below.

- Transfer 1 ml of the suspension to 9 ml sterile normal saline solution – 101 Dilution.

- 1 ml of 101 Dilution to 9 ml sterile normal saline solution – 102 Dilution.

- 1 ml of 102 Dilution to 9 ml sterile normal saline solution – 103 Dilution.

- 1 ml of 103 Dilution to 9 ml sterile normal saline solution – 104 Dilution.

- 1 ml of 104 Dilution to 9 ml sterile normal saline solution – 105 Dilution.

- 1 ml of 105 Dilution to 9 ml sterile normal saline solution – 106 Dilution.

- 1 ml of106 Dilution to 9 ml sterile normal saline solution –107Dilution.

- 1 ml of107 Dilution to 9 ml sterile normal saline solution –108Dilution.

- 1 ml of108 Dilution to 9 ml sterile normal saline solution –109Dilution.

- 1 ml of109 Dilution to 9 ml sterile normal saline solution –1010Dilution.

Incubation

- Check the CFU/ml from the above-prepared dilutions by transferring 1ml of the inoculum in Nutrient media plate for Bacteria & Fungi by pour plate method.

- Incubate the plates for 48 and 72 hours at respective Temperature as mentioned above.

Observation

- On observation of visible microbial growth on each plate, count & record the average number of CFU in Preparation of culture suspension register.

- Count the CFU/ml from each Dilution & select the dilution tube which gives 10-100 CFU/ml.

- Store the same Tube for daily use of Culture for Positive Control.

- Record all Dilutions Result in MLT form BML/QA/STP/QDG/F04.

- Use it for one week & discard (from date of preparation) as per SOP for disposal of media

BML-QDG-MC-008

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

- MLT form for culture dilution -BML/QA/STP/QDG/F04

- TRAINING INVOLVEMENT

| Quality Control Head | Quality control microbiologist, Laboratory assistant |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORIES |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |