- OBJECTIVE:

The objective of this SOP is to cover the written procedure for cleaning of Cloak Room

- SCOPE	:

This SOP covers the procedures for cleaning and tidy to prevent contamination and maintain a hygienic environment for personnel entering and exiting the production areas.

- RESPONSIBILITIES/ ACCOUNTABILITIES:

Environmental Officers, House Keeper, Supervisor, Microbiologist, Q.A. Officer, Production Pharmacist, Production Manager, Quality Assurance Manager and the Superintendent Pharmacist/Factory Manager

- ABBREVIATION AND DEFINITIONS

PPE- Personal protective equipment

- MATERIALS, EQUIPMENT, APPARATUS AND REAGENTS

Cleaning Agents:

List approved cleaning agents (e.g., detergents, disinfectants). (Attached BML/QA/CDL/001)

Tools:

Specify cleaning tools (e.g., mops, buckets, broom, bowls, brushes, cloths, gloves, masks).

PPE:

Detail the required PPE (e.g. garments, gloves, masks, shoe covers) to be worn during cleaning.

Waste Disposal container: waste basket

- PROCEDURE

Preparation:

-	Don appropriate PPE.

-	Remove any waste from the cloakrooms

-	Prepare cleaning solutions as per instructions.

Daily Cleaning:

-	Dust and wipe down all surfaces (walls, shelves, lockers, etc.).

-	Clean and disinfect washbasins, countertops, and fixtures.

-	Clean and disinfect toilet facilities (if applicable).

-	Sweep the floors.

-	Mop floors with disinfectant solution.

Sanitization Procedures:

-	Perform thorough cleaning as described above.

-	Apply disinfectant solutions to all surfaces, paying attention to high-touch areas.

-	Allow sufficient contact time for the disinfectant to be effective.

-	Rinse surfaces if required by the disinfectant instructions.

-	Ensure proper drying of surfaces.

Storage of cleaning tools after use:

-	Clean all the equipment / materials used for the cleaning of the clean areas with detergent solution

- Rinse with water and immersed in disinfectant solution for 10 minutes before draining.

- After draining, keep the materials in appropriate area for next use.

Frequency of cleaning:  daily

- The cleaning log/ chart to be checked by QA

- All personnel involved in cleaning the cloakroom should be trained on the SOP and proper cleaning techniques

- REFERENCE AND ENCLOSURE

In- House Method

- TRAINING INVOLVEMENT

| All Environmental officers | House Keeper supervisors |
| --- | --- |
| QA Doc. Unit staff | IPQA Officer |

- DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | GHK Unit |

- CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |

Annexure 1

| Housekeeping unit | Document Code: BML/QA/CR/19.001 | Form Number: CR001 |
| --- | --- | --- |
| Title : Cloak Room Cleaning Record | Version Number: 001 | Review: 00 |

| Daily | Windows Doors Wash hand Basin Toilet seat Shoe rack | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weekly | Dedicated locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monthly | Fans /socket |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Checked By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Verified By QA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tick () in the relevant column, if cleaning performed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ANNEXURE II

List of cleaning agents and disinfectant

Cleaning agents: liquid soap, detergent, sodium hypochlorite, phenyl

Disinfectant: Dettol, 70%IPA, Hydrogen peroxide