- OBJECTIVE:

To provide written guidelines for weighing Raw Materials

- SCOPE:

This SOP covers the procedure to follow for weighing Raw Materials

- RESPONSIBILITIES/ACCOUNTABILITIES:

Production Supervisor, Production Pharmacists, Quality Assurance Officer, Quality Assurance Manager, Superintendent Pharmacist/Factory Manager.

- ABBREVIATION AND DEFINITIONS

Nil

- PROCEDURES

- Verify the function of weighing balance at least once a day when starting to use the balance, by:

- Check zero point, should indicate zero position/ in the middle.

- Placed several weighing loads, successively and read the weighing result.

- Check the cleanliness of weighing area / room.

(i) This area / room should be freed from unnecessary materials, except the materials going to be weighed.

- Check the cleanliness of balances, pails other containers for weighing.

- Raw material packaging should be cleaned from dust etc., before entering weighing area /weighing room.

- Balance capacity should be considered and related to the quantity of raw materials going to be weighed depending on the capacity and sensitivity of each balance.

- Operators working in this area / room should wear dry and cleaned protecting clothes, gloves, hair net and nose mask.

Materials, Equipment, Apparatus and Reagents

PPE

- REFERENCE AND ENCLOSURE

- IN-HOUSE

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |