- OBJECTIVE:

To serve as a written guide in defining Quality Control activities at different stages

- SCOPE:

This procedure is applicable all incoming and finished products at BIOMEDICAL LTD , Ilorin, Kwara State.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Quality control Analysts, Quality Control Head, Quality Assurance Manager.

- ABBREVIATION AND DEFINITIONS

Nil

- PROCEDURES

- Organization has defined four stages of inspection named as stage 1,, QC for incoming materials, stage 2, IPQC for in-process materials, stage 3 for Finished Goods inspection and stage 4 for post packing and pre-dispatch inspection.

- The Quality Control Department carries out the required inspection at various stages in accordance with the QAULITY PLANS AS PER annexure 1 ( bm//qa/00….

Incoming material inspection

- The QC personnel receive the intimation for sampling and testing from the store in-charge along with supplier COA, if available.

- For incoming material, QC personnel enter the details in the incoming material QC register 9BML/QC/….) and assign QC report to the received materials. The QC report number shall be as given below;

QC/IM/YY/XXX

Where;

QC stands for Quality Control

IM stands for incoming material

YY stands for year

XXX is sequential numbering starting from 001

- QC personnel shall take samples and conduct testing as per the standard requirement

- If the material meets all pre-defined specifications, then it shall be released for further action.

In-process Inspection

- During the in-process inspection, it is to ensured that line clearance must be performed as pre defined procedure

- If there is any discrepancy in the output or the process, corrective actions must be implemented according to standard procedure and documented.

Finished Good Inspection

- For finished goods, QC personnel enter the details in the Finished goods QC  register ( BML/FGV/QC/OO1…) and assign QC report number to the finished goods. The QC report number shall be as given below;

QC/FG/YY/XXX

Where;

QC stands for Quality Control

FG stands for Finished Goods

YY stands for year

XXX is sequential numbering starting from 001

- QC personnel shall take samples and conduct as per the standard testing procedure.

- If the product meets all pre-determined specifications, then it shall be released for further action.

Pre-dispatch Inspection

- During pre- dispatch inspection, QC must ensure that all the records related to the products are available and completed

- During pre-dispatch inspection, QA and store officer must ensure that the customer requirements are met and in compliance.

- REFERENCE AND ENCLOSURE

- Sop on product release- BML/MC/………..

- Standard testing procedure: STP…….

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |