- OBJECTIVE:

To provide the method for Cleaning of water treatment plant

- SCOPE:

This SOP covers the procedure to follow while cleaning the water treatment plant

- RESPONSIBILITY/ACCOUNTABILITY:

Water treatment officer, Q.A. Officer, Q.A. Manager. SP/FM.

- ABBREVIATIONS AND DEFINITIONS:

Nil

- PROCEDURE:

- Dust all equipment surface with a dry, clean towel

- With a clean neat brush remove all dust, dirt and particles in Water treatment area,

- Remove any cob-webs with the help of the long brush

- Clean all the windows, doors and frames with glass cleaner and soft cotton cloth

- Prepare a 5% Volume liquid detergent solution and mop the area with it using clean mop-brush

- Frequently wash the mop-brush with clean water to remove all the trapped dirt’s collected in it

- Disinfect the floor by adding Dettol into water, use the solution to mop the floor

- Change the disinfectant every two weeks, use 300ml of hypochlorite and dissolve in 1000ml of wate, repeat same cleaning procedure. Make sure not to wet all electrical surfaces.

FREQUENCY: Daily

Materials, Equipment, Apparatus and Reagents

- Liquid Detergent/Soap

- Mop-brush

- Broom brush

- Packers

- Disinfectant

- Hand Towel

- REFERENCE/ENCLOSURE:

- Nil

- TRAINING INVOLVEMENT

| Chief Engineer | Engineer-Incharge, Operators/Assistants. |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | WATER TREATMENT UNIT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |