- OBJECTIVE:

To provide the method for changing of Micron Filter.

- SCOPE:

To provide written guidelines for Changing of Micron Filter

- RESPONSIBILITY/ACCOUNTABILITY:

Water Treatment Plant operator, Microbiologist, Q.A Manager.

- ABBREVIATIONS AND DEFINITIONS:

N/A

- PROCEDURE:

- Close the valve that enter into the industrial filter

- Loose the Industrial filter

- Remove the 0.5  and 1.0 Micron Filters from the industrial filter

- Wash the industrial filter with liquid soap solution

- Ensure that it is thoroughly rinse with water to remove the soap solution

- Replace the Micron Filters with the new Micron Filters respectively (0.5 and 1.0 Micron Filter

- Fixed and open the valve.

- A proper record of changing of the Micron filter must be properly documented.

FREQUENCY: Twice a week

- REFERENCE/ENCLOSURE:

In-house

- TRAINING INVOLVEMENT

| Chief Engineer | Engineer-Incharge, Operators/Assistants. |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | WATER TREATMENT UNIT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |