- OBJECTIVE:

This SOP describes the process of cleaning and disinfecting of the clean area of clean area

- SCOPE:

To provide written guidelines for cleaning and disinfecting of the clean area.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Supervisor, Microbiologist, Q.A Officer, Production Pharmacist, Quality Assurance Manager and the Superintendent Pharmacist/Factory Manager

- ABBREVIATION AND DEFINITIONS

IPA-Isopropyl Alcohol

- PROCEDURES

CLEANING OF THE AREA

- Using plastic brush, clear the floor of any visible particles, dirt or debris

- Prepare 2.5%v/v Soap Solution in Deionized Water & mop the whole area clean.

- Take extra effort to clean the covings between wall & floor.

DISINFECTING THE AREA

- Prepare the required disinfectant solution as per the schedule in proper concentration. Use deionized water or distilled water for diluting the disinfectant.

- Apply the disinfectant solution on the whole floor.

- Leave it like this for at least 5 minutes. Mop away the excess disinfectant solution from the floor after 5 minutes to render the floor dry. Then clean with water.

- Once in a day pour some disinfectant solution to the drain points after cleaning them.

CLEANING OF THE MATERIALS

- Use the detergent solution to clean all the materials

- After cleaning, rinse thoroughly with Water for Injection

DISINFECTING THE MATERIALS

- Immerse a clean napkin into 70% v/v IPA and use it to wipe all the parts of the materials

- Put the appropriate label on it

- Keep in the appropriate storage area for next use

FREQUENCY OF CLEANING

- Being a classified area the Clean Area requires constant cleaning & disinfecting in order to prevent growth of microorganisms in the area.

- Disinfectants should be rotated according to the schedule

- At no instance of time there should be water or product accumulation on the floor.

- Be prompt to remove any dirt/debris from the operations like used Raw Material bags, paper tags, labels if on the floor.

- Document cleaning in cleaning chart provided

SCHEDULE FOR DISINFECTANTS

| DAY | DISINFECTANT | CONCENTRATION | DILUTION METHOD |
| --- | --- | --- | --- |
| MON | DETTOL (Chloroxylenol Solution) | 4.8%w/v | Mix 200mL with 4L of Water |
| TUE | PURIT (Chlorhexidine gluconate and Cetrimide Solution) | 0.3% w/v + 3.0%w/v | Mix 200mL with 4L of Water |
| WED | DETTOL (Chloroxylenol Solution) | 4.8%w/v | Mix 200mL with 4L of Water |
| THU | PURIT(Chlorhexidine gluconate and Cetrimide Solution) | 0.3% w/v + 3.0%w/v | Mix 200mL with 4L of Water |
| FRI | DETTOL (Chloroxylenol Solution) | 4.8%w/v | Mix 200mL with 4L of Water |
| SAT | Sodium Hypochlorite | 6.25% v/v | Mix 200mL with 5L of Water |

MATERIALS, EQUIPMENT, APPARATUS AND REAGENTS

1.	Mop

2.	Brush

3.	Buckets

4.	Bows

5.	Detergent

6.	Disinfectant

- REFERENCE AND ENCLOSURE

INHOUSE

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |