- OBJECTIVE:

This SOP describes the laydown procedure for carrying out cleaning of the area which is maintained as Clean area and disinfecting of cleaning materials used during the cleaning of the clean area.

- SCOPE:

To provide written guidelines for cleaning and disinfecting of materials use in cleaning of the clean areas.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Supervisor, Microbiologist, Q.A. Officer, Production Pharmacist, Quality Assurance Manager and the Superintendent Pharmacist/Factory Manager

- ABBREVIATION AND DEFINITIONS

- % : percentage

- IPA: Isopropyl alcohol

- PROCEDURES

- The alternative use of two or more disinfectant is recommended at regular interval to prevent proliferation of resistant strain of microorganism.

- The alternative should be of different chemicals type and preferably possess different spectrum of anti-microbial activity.

- Disinfectants of different chemical types should not be mixed and disinfectants should not be mixed with cleaning agents. Mixing can result in drastic reduction in anti- microbial activity.

- Disinfectants and cleaning agents should be prepared freshly. Only processed water should be used for dilution as per need.

Schedule of disinfectant

| s/n | Day | Disinfectant used |
| --- | --- | --- |
| 1. | Monday | 2.5% Dettol |
| 2. | Tuesday | 10%of hypochlorite solution |
| 3. | Wednesday | 2% of hydrogen peroxide |
| 4. | Thursday | 2.5% Dettol |
| 5. | Friday | 10%of hypochlorite solution |
| 6. | Saturday | 2% of hydrogen peroxide |

For Sunday working, use 0.1% solution of cleaning agent

- Spray the disinfectant with fogging machine twice in a week on Wednesday and Saturday after end of general shift.

- Prepare required quantity of disinfectant solution with processed water as diluent. Follow the schedule for preparation of disinfectant as per Annexure.

Clean area locations

- Filling room

- Mixing unit

- Inoculation room

- Air lock

- Clean the entire clean area using the following equipment’s floor mops(GMP), non-shedding Napkin.

Following areas are to be cleaned;

- Ceiling

- Panels wall

- Doors

- Switches

- Lamina air flow bench

- Floor

- Sterile dress cabinet

- Trolley

- HEPA grills

- Riser grills

Follow the frequency of the cleaning as per annexure

- In the inoculation room, mop the working area with 70%IPA daily after completion of sterility test.

- Fumigate the all the classified area with fogging machine on the week end after work is over.

- Record it in a cleaning record as per annexure

Cleaning of cleaning materials

- Wear all necessary personnel protective equipment’s e.g. nose mask, glove and clean work coat before commencing the cleaning process.

- Cleaning and disinfecting of all the cleaning materials must be done daily after use.

- Before cleaning, prepare the detergent solution by using appropriate detergent in clean water.

- Prepare the disinfectant solution by mixing 200mls solution of 6.25% w/v solution sodium Hypochlorite with 5 liters of clean water.

- Clean all the equipment / materials used for the cleaning of the clean areas with cleaning agent solution rinse with WFI water and immersed in disinfectant solution for 10 minutes before draining.

- After draining, keep the materials in appropriate area for next use.

Materials, Equipment, Apparatus and Reagents

- Mop

- Brush

- Buckets

- Bows

- Cleaning agents solution

- Disinfectant

- REFERENCE AND ENCLOSURE

ENCLOSURE 1- BML-QDG-QA-010-F01-DAILY CLEANING AND DISINFECTING OF CLEANING MATERIAL FOR STERILE AREA

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All clean room house keeper |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |