- Objective:

To provide written guidelines for cleaning of Chemical and Instrument laboratories.

- Scope:

This SOP covers the process of cleaning the chemical and instrument laboratories

3.0 Responsibility/accountability:

Laboratory Assistant, Quality Control Chemist, Quality Assurance Officer, Quality Assurance Manager, Superintendent Pharmacist.

4.0 Abbreviations and Definitions

N/A

- Procedure

#### 5.1 General Cleaning Procedure

- Ensure appropriate PPE (gloves, lab coat, safety shoes) is worn.

- Sweep the entire floor using plastic broom/brush to remove all dirt and loose debris.

- Prepare a 2.5% v/v soap solution using clean/purified water.

- Mop the entire floor area using the soap solution.

- Pay special attention to covings (corners between wall and floor) where dirt typically accumulates.

- Clean all work surfaces, including tables and chairs, with a moist clean cloth and wipe dry.

- Wipe the surfaces of all instruments and workbenches using a lint-free wet duster at least once per shift.

- Clean AC air grills using a lint-free wet cloth once per shift or more frequently if required.

#### 5.2 Disinfection Procedure

- Prepare disinfectant solution according to the weekly rotation schedule and specified concentration.

- Use purified water to dilute the disinfectant.

- Mop the floor using the prepared disinfectant solution.

- Leave disinfectant on the floor for 10 minutes for effective microbial action.

- After 10 minutes, dry the floor by mopping excess solution with a clean mop.

#### 5.3 Frequency of Cleaning

- The chemical and instrument labs are designated non-clean areas and must be cleaned at least twice daily.

- Floors and worktops must be dry and free from chemicals or spills at all times.

- Promptly remove all debris such as sampling bags, labels, or paper from the floor or surfaces.

- Waste bins must be emptied and cleaned frequently to avoid contamination or odor build-up.

SCHEDULE FOR DISINFECTANTS

| DAY | DISINFECTANT | CONCENTRATION |
| --- | --- | --- |
| MON | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| TUE | PURIT (Cetrimide Solution) | 2.0% v/v |
| WED | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| THU | PURIT(Cetrimide Solution) | 2.0% v/v |
| FRI | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| SAT | PURIT(Cetrimide Solution) | 2.0% v/v |

Materials, Equipment, Apparatus and Reagents

- PPE

- Hand gloves

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

7.0 TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality Control Head |
| --- | --- |
| QC Analyst | Laboratory Assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |