- Objective:

To provide written guidelines for cleaning of glassware.

- Scope:

This SOP covers the process of cleaning glassware used in the chemical laboratory

3.0 Responsibility/accountability:

- Laboratory Assistant, Quality Control Chemist, Quality Assurance Officer, Quality Assurance Manager, Superintendent Pharmacist.

4.0 Abbreviations and Definitions

cGMP – Current Good Manufacturing Practice

PPE – Personal Protective Equipment

SOP – Standard Operating Procedure

- Procedure

- Wear appropriate PPE (gloves, lab coat, eye protection).

- Use plastic brushes and a suitable liquid detergent to clean all glassware thoroughly.

- Rinse the glassware multiple times with tap water until no detergent residue remains (e.g., no bubbles).

- Perform a final rinse using Water for Injection (WFI) to eliminate any remaining impurities.

- Place the cleaned glassware on a glassware drying rack. Ensure they are well-positioned and secured to prevent falls or damage.

- After cleaning, thoroughly clean the laboratory sink and remove any debris.

Materials, Equipment, Apparatus and Reagents

Detergent

Plastic brushes

Glassware rack

Water for injection

PPE

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

7.0 TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality Control Head |
| --- | --- |
| QC Analyst | Laboratory Assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |