- Objective:

To provide written guidelines for cleaning and Operation of Laboratory Oven

- Scope:

This SOP covers the process of cleaning and Operation of Laboratory Oven used in

the chemical laboratory

3.0 Responsibility/accountability:

Laboratory Assistant, Quality Control Chemist, Quality Control Microbiologist, Quality Assurance Manager, Supt. Pharmacist.

4.0 Abbreviations and Definitions

cGMP – Current Good Manufacturing Practice

PPE – Personal Protective Equipment

SOP – Standard Operating Procedure

- Procedure

Cleaning Procedure:

- Disconnect from the power source.

- Open and clean the inner chamber with a clean soft cloth.

- Clean the outer part of the Oven with a clean soft cloth.

- Lift the apparatus from its original position and clean the base

- Return the apparatus to its original position.

Operation Procedure

- Connect the switch to main electrical supply.

- Set the thermostat to the required temperature.

- Select a medium of drying (i.e. low, medium or high) and turn the regulator anticlockwise to the selected medium.

- Ensure that glass wares are orderly arranged in the oven.

- Ensure that the door is well closed when in use; allow cooling down naturally before the door is opened.

- Switch off and disconnect the cable from the main electricity supply.

Materials, Equipment, Apparatus and Reagents

Dry cloth

PPE

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

ENLCOSURE 1- LABORATORY OVEN CLEANING LOGBOOK- BML-QDF-CL-006-F01

ENCLOSURE 2- LABORATORY OVEN USAGE LOGBOOK- BML-QDF-CL-006-F02

7.0 TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality Control Head |
| --- | --- |
| QC Analyst | Laboratory Assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE/ DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |