- Objective:

To describes the process of Handling Chemicals and storage of chemicals.

- Scope:

This SOP covers all Chemicals in the chemical laboratory and the factory.

3.0 Responsibility/accountability:

Chemist, Microbiologist, Quality Assurance Manager and the Superintendent Pharmacist/Factory Manager

4.0 Abbreviations and Definitions

PPE - Personnel Protective Equipment’s

MSDS - Material safety data sheet

- Procedure

#### 5.1 General Safety Note

Chemicals and reagents used in the laboratory may be hazardous and pose risks such as burns, toxic exposure, illness, or environmental harm. All personnel must take necessary precautions during handling and storage.

#### 5.2 Chemical Handling

- Record the receipt of all chemicals in the Chemical Receipt Register immediately upon arrival.

- All chemicals must be handled with care, in accordance with their physical and chemical properties.

- Ensure all chemicals and reagents are properly labeled, including the name, concentration, date received, and hazard classification.

- Only authorized personnel with adequate knowledge of the chemical’s properties are permitted to handle chemicals.

- Always wear appropriate PPE (lab coat, gloves, goggles) while handling chemicals.

- Never use or assume the identity of an unlabeled or improperly labeled chemical or reagent. Report such instances to the QA Manager or supervising chemist.

- Store highly toxic or corrosive chemicals, such as concentrated acids, in designated secure cabinets, away from incompatible materials.

- Material Safety Data Sheets (MSDS) must be available for all chemicals, and should be accessible near chemical storage areas for reference.

- Follow all MSDS guidelines strictly when disposing of chemicals, ensuring safety to personnel and the environment.

Materials, Equipment, Apparatus and Reagents

PPE

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

7.0 TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality Control Head |
| --- | --- |
| QC Analyst | Laboratory Assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE/ DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |