- Objective:

This SOP describes the process of operation of air lock into the microbiology laboratory

- Scope:

This SOP covers the method of Operation for air lock into the microbiology laboratory

3.0 Responsibility/accountability:

Production staff, Quality Control Microbiologist, Quality Assurance officer, Quality Assurance manager and superintendent pharmacist

4.0 Abbreviations and Definitions

N/A

- Procedure

- When entering into the microbiology laboratory, all necessary PPE must be worn

- Close the door gently

- Ensure the power is on, allow the air to blow

- Raise your two hands up to allow the air to blow away any particles

- Slowly, Rotate at 3600

- Wait until the reading is back to zero on the air blower screen

- Open the door to the clean area

- The air lock is electronically interlocked; the two doors must not be opened simultaneously

- Once inside the clean area, follow good manufacturing practices at all time

6.0 REFERENCE/ENCLOSURE

INHOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |