|  | Biomedical Limited, No. 1 Ohimege Road, Industrial Estate, Ilorin, Kwara State, PMB 1449 | Doc. No.: BML/QDF/MC/045 |
| --- | --- | --- |
|  | QUALITY ASSURANCE DEPARTMENT EQUIPMENT CALIBRATION LOG ELECTRONIC WEIGHING BALANCE | Version No.: 02 |

| Date | Standard weight used (g) | Readings | Deviation | Specification + 0.1% | Remark | Done By | Checked by |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 20 |  |  | 19.98 - 20.02 |  |  |  |
|  | 50 |  |  | 49.95 - 50.05 |  |  |  |
|  | 100 |  |  | 99.90 - 100.10 |  |  |  |
|  | 20 |  |  | 19.98 - 20.02 |  |  |  |
|  | 50 |  |  | 49.95 - 50.05 |  |  |  |
|  | 100 |  |  | 99.90 - 100.10 |  |  |  |
|  | 20 |  |  | 19.98 - 20.02 |  |  |  |
|  | 50 |  |  | 49.95 - 50.05 |  |  |  |
|  | 100 |  |  | 99.90 - 100.10 |  |  |  |
|  | 20 |  |  | 19.98 - 20.02 |  |  |  |
|  | 50 |  |  | 49.95 - 50.05 |  |  |  |
|  | 100 |  |  | 99.90 - 100.10 |  |  |  |
|  | 20 |  |  | 19.98 - 20.02 |  |  |  |
|  | 50 |  |  | 49.95 - 50.05 |  |  |  |

______

--------------

Q.A Head

Sign /Date

EQUIPMENT CALIBRATION LOG BOOK

| Equipment Name: | ELECTRONIC WEIGHING BALANCE |
| --- | --- |
| Equipment ID: | BL/EQ/QAE/032 |
| Location: | MICROBIOLOGY LAB |
| Model: | GOLDEN METTLER |
| Manufacturer’s Name: | SENSOR DISC TECHNOLOGIA, USA |
| Issued By | QA DOCUMENTATION UNIT |

BIOMEDICAL LTD.

BIOMEDICAL LIMITED, NO 1 OHIMEGE ROAD, INDUSTRIAL ESTATE, ILORIN KWARA STATE, PMB 1449

QUALITY CONTROL

[MICROBIOLOGY LAB]

CALIBRATION LOGBOOK FOR ANALYTICAL WEIGHING BALANCE

LGB/QDF/MC/045

VOL. 02