- OBJECTIVE:

This SOP describes the process of entry and exit into and from the microbiological laboratory.

- SCOPE:

- This procedure applies to entry and exist into microbiology laboratory in Biomedical Limited, for its processes, facilities, manufacturing, distribution and other necessary activities that have the potential to affect cGMP.

- RESPONSIBILITY/ACCOUNTABILITY

- Microbiologists and visitors alike are responsible for adhering to procedure for entry and exist into microbiology lab

4.0 ABBREVIATIONS AND DEFINITIONS

PPE: Personal Protective Equipment.

- PROCEDURE

General:

- It should be observed/assumed that samples and microorganism with which you work in the microbiological laboratory can cause illness and disease.

- Great care should therefore be taken in handling cultures, slides and all materials that may have been in contact with living organisms.

Entry The Microbiology Laboratory:

- When entering the microbiology laboratory all necessary PPE must be worn.

- Clean and disinfect your hands from elbow down with soap and disinfectant.

- All samples entering the microbiology laboratory must be properly covered and always close the door after you when entry into the microbiology laboratory.

- Once inside the laboratory follow good laboratory practice at all time.

- Do not eat, drink, smoke or suck any food, liquid in the microbiology laboratory.

- Never moist or pipette any substance with your mouth in the laboratory.

- Containers must be properly covered with aluminum foil to prevent contamination.

- Any used substance e.g. cotton wool, must be properly dispose off in the waste container.

- Never leave anything exposed on the floor or working table.

Entering Media Preparation Area:

    - Enter the QC work way with lab gown,

    - Put on head cover and lab shoes.

    - Put on eye goggles and Nose Mask

    - Open the media prep room.

    - Sanitizes the hands and use Hand gloves.

Exiting Media Preparation Area

    - Put off lab shoes.

    - Remove Hand gloves, nose marks and sanitizes the hands.

    - Wash the hand with antiseptic soap.

    - Move through the QC work way.

Entering Inoculation Area:

    - Put off lab shoes and place in the cabinet’ and put on the sterilized lab suits and head cover for inoculation area.

    - Enter the disinfecting room and Wash the hand with antiseptic soap.

    - Sanitize your hand and open the inoculation entry door

    - Enter the inoculation room.

Exiting Inoculation Area

    - Exit the inoculation room

    - Put off the inoculation area shoes, and sterilized lab suits and place in the cabinet

    - Wash the hand with antiseptic soap

Exit The Laboratory

- All contaminated materials should be disinfected before proper washing and sterilization.

- Before exit, any culture split on the floor or bench should be swabbed immediately with Cotton wool soaked with disinfectant solution and properly disposed off in the waste container.

- Remove gloves, nose mask and dispose of them.

- Wash your hands with soap and disinfectant.

- Remove coats, cap, and place them in respective places.

- REFERENCE/ENCLOSURE

- Nil

- TRAINING INVOLVEMENT

| Quality Control Head | Microbiologist, Laboratory assistance. |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |