- OBJECTIVE:

To provide written guidelines for cleaning and Operation of Refrigerator

- SCOPE:

This SOP covers written guidelines for cleaning and Operation of Refrigerator

- RESPONSIBILITY/ACCOUNTABILITY:

- The user must ensure that the equipment is kept clean

- The user reports any equipment malfunction.

4.0 ABBREVIATIONS AND DEFINITIONS

- Nil

- PROCEDURE

Cleaning Procedure:

- Put off the main switch.

- Remove all materials (containers) from the refrigerator and carefully store them in air condition room

- Defrost the refrigerator.

- Mop the inner surface of the refrigerator with water.

- Dry mop the refrigerator and then clean it with soap solution.

- Again, mop it with water and clean with dry cloth.

- Switch on the refrigerator and allow the temperature to attain a constant value.

- Transfer all the containers back into the refrigerator.

- Cleaning is to be done once in a quarter

- After cleaning, record it in cleaning register

- Check the temperature and record it

Operation Procedure

- Connect the plug to the main switch.

- Turn on the Refrigerator.

- Set the thermostat for cooling temperature.

- The reagent/ Media must be placed in the Refrigerator properly.

- The reagent / Media must be covered properly to avoid contaminations.

- Gently close the door of the refrigerator and key after each use.

PRECAUTIONS:

- Unplug the electrical appliance before cleaning.

- Do not open the door more often than necessary to maintain the normal temperature.

- All electrical repairs must be done by qualified electricians

Materials, Equipment, Apparatus and Reagents

- PPE

- Soap solution

- Lukewarm water

Safety, Health and Environment Precaution

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

- Refrigerator instruction manual.

- TRAINING INVOLVEMENT

| Quality Control Head | Microbiologist, Laboratory assistant |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |