- Purpose

- This SOP outlines the procedures for the cleaning, maintenance, and operation of colony counters used in [Insert Department or Lab Name]. It ensures that colony counters are kept in optimal condition and are used correctly to provide accurate and reliable results.

- Scope

- This SOP applies to all personnel involved in the operation and maintenance of colony counters within [Insert Department or Lab Name]. It covers the steps for proper cleaning, setup, and use of colony counters in compliance with Good Laboratory Practices (GLP) and relevant regulatory guidelines.

- Responsibilities

- Laboratory Assistant/Quality Control Microbiologist: Responsible for following this SOP when operating or cleaning colony counters.

- Quality Assurance Manager: Ensures that all personnel are trained on this SOP and that the SOP is followed correctly., Responsible for verifying compliance with this SOP during audits.

- Definitions

- Colony Counter: An instrument used to automatically or manually count the number of colonies present on a plate, usually after incubation in microbiological studies.

- GLP: Good Laboratory Practice, a set of principles intended to assure the quality and integrity of non-clinical laboratory studies.

- Procedure

  - Cleaning Procedure

    - Frequency

- Clean the colony counter before and after each use.

- Perform a deep clean weekly or as required.

    - Materials

- Lint-free wipes

- Isopropyl alcohol (70% or as recommended by the manufacturer)

- Mild detergent (if specified by the manufacturer)

- Compressed air (optional, for removing dust)

    - Steps

- Preparation

- Ensure that the colony counter is turned off and unplugged.

- Remove any plates or materials from the work area.

- Exterior Cleaning:

- Wipe the exterior surfaces of the colony counter with a lint-free wipe dampened with isopropyl alcohol.

- Be cautious not to allow liquid to enter any openings or electronic components.

- Screen and Lens Cleaning:

- If the colony counter has a viewing screen or magnifying lens, clean it with a soft, lint-free cloth dampened with lens cleaning solution or alcohol.

- Avoid using abrasive materials that could scratch the screen or lens.

- Counter Surface Cleaning:

- Clean the surface where plates are placed with a wipe dampened with isopropyl alcohol.

- Ensure no residue or contamination is left on the surface.

- Deep Cleaning (Weekly or as needed):

- Disassemble any removable components according to the manufacturer’s instructions.

- Clean each part as specified above.

- Ensure all parts are completely dry before reassembling.

- Inspection:

- Inspect the colony counter for any remaining dirt, smudges, or residue.

- Ensure the equipment is clean and dry before storing or using it.

  - Operation Procedure

    - Setup

- Placement:

- Place the colony counter on a stable, level surface in a clean environment.

- Ensure the area is well-lit and free from dust.

- Power On:

- Plug in the colony counter and turn it on.

- Allow the machine to warm up if required by the manufacturer’s instructions.

- Calibration:

- Perform any necessary calibration steps as per the manufacturer’s instructions to ensure accuracy.

- Document the calibration in the logbook.

    - Operation

- Plate Preparation:

- Prepare the agar plates with colonies as per laboratory protocols.

- Ensure plates are free of condensation and are properly labeled.

- Counting:

- Place the plate on the counting surface.

- Use the controls to adjust the view (e.g., zoom, focus) for optimal counting.

- Begin the counting process, following the machine's prompts or manual counting procedures.

- Document the colony count as per the experiment’s requirements.

- Verification:

- For manual counts, double-check the count by recounting the colonies.

- For automated counts, verify the accuracy of the count by reviewing the images or data.

    - Shutdown and Storage

- Power Off:

- Turn off the colony counter and unplug it.

- Allow any components to cool down if necessary.

- Cleaning After Use:

- Remove the plate and clean the counter surface as described in the cleaning procedure.

- Ensure no residue or contamination is left on the surface.

- Cover:

- Cover the colony counter with a dust cover when not in use.

- Storage:

- Store the colony counter in a designated area that is clean, dry, and free from dust.

- Training

- All personnel must be trained on this SOP before operating or cleaning colony counters.

- Training records must be maintained.

- Documentation and Record-Keeping

- Maintain a logbook for recording all cleaning, maintenance, and calibration activities.

- Document any deviations from this SOP and report them to the supervisor.

- References

- Insert Manufacturer’s Manual

- GLP Guidelines

- Training Requirements

- On relevant SOP’s

- On good cleaning practices

- On cGMP

- On good documentation practice.

- Distribution:

- Microbiology laboratory:  To ensure compliance

- Controlled copy:  To be displayed in the micro laboratory

- Master copy:  To be kept with the Quality Assurance Manager