- Objective:

- The purpose of this SOP is to describe the procedure for establishing and maintaining a program for the calibration of all equipments/ instrument used for monitoring or measuring critical parameters in the testing and manufacturing process of products.

- Scope:

- This SOP is applicable to cover all instruments/ Equipments which need to be periodically calibrated as well as validated in Quality Control, Production, Stores and Packing Departments.

3.0 Responsibility/accountability:

- Production Foreman, Production Supervisor, Q.A Chemist, Microbiologist, Maintenance Officer, Production Pharmacist, Quality Assurance Manager, Supt. Pharmacist

4.0 Abbreviations and Definitions

N/A

- Procedure

- Follow the calibration procedures for all the instruments and equipments which are to be calibrated in-house as per the schedule are given in the individual SOP”s of respective instruments or equipments.

- Calibrate each instrument in the location, where it is installed or where it is to be used.

- Carry out calibration at specified intervals or frequency given in the individual SOP.

- Affix a ”CALIBRATED” Tag on each instrument after calibration is carried out and the results are satisfactory, with the details indicating the date of calibration, signature of person performing the calibration and next due date of calibration.

- Maintain a record of Calibration in the Log book, giving details of calibration frequency, range, accuracy and the reference standard used.

- Also enter Calibration results in the calibration log book.

- Call a service person for repair or replace the instrument which fails to confirm with established acceptance tolerances. Till the time attach a tag of “UNDER MAINTAINANCE” to such faulty instrument or equipment.

- Some instruments like PH meter and weighing balances are to be calibrated when they are to be use for their performance other than this, following the calibration program as per SOP for each instrument, and the respective records are maintained.

- Calibration program is to be reviewed and can be modified as per the history of calibration record, if needed.

GENERAL

- Respective SOP’s

- Required reagents or Chemicals as per particular SOP

- Set of pre-calibrated weights

- REFERENCE/ENCLOSURE

In House Method

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 02 | ### 01 | ### July 2022 | To update |
| ### 03 | ### 02 | ### July 2024 | - Inclusion of enclosures format - Change in sop format generally - To update |