- Objective:

To provide written guidelines for weighing Raw Materials

- Scope:

This SOP covers the procedure to follow for weighing Raw Materials

3.0 Responsibility/accountability:

Operators, Production Supervisor, Production Pharmacist, Q.A Officer

4.0 Abbreviations and Definitions

N/A

- Procedure

- Verify the function of weighing balance at least once a day when starting to use the balance, by:

- Check zero point, should indicate zero position/ in the middle.

- Placed several weighing loads, successively and read the weighing result.

- Check the cleanliness of weighing area / room.

(i) This area / room should be freed from unnecessary materials, except the materials going to be weighed.

- Check the cleanliness of balances, pails other containers for weighing.

- Raw material packaging should be cleaned from dust etc., before entering weighing area /weighing room.

- Balance capacity should be considered and related to the quantity of raw materials going to be weighed depending on the capacity and sensitivity of each balance.

- Operators working in this area / room should wear dry and cleaned protecting clothes, gloves, hair net and masker.

Materials, Equipment, Apparatus and Reagents

PPE

- REFERENCE/ENCLOSURE

N/A

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |