- Objective:

- To provide written guidelines for establishing the efficacy of the Autoclave using chemical strips

- Scope:

- 	The scope of this SOP applies to establishing the efficacy of the Autoclave using chemical strips

- Responsibility/accountability:

- Quality Assurance Officer, Chemist, Microbiologist, Quality Assurance

Manager, Superintendent Pharmacist

4.0 Abbreviations and Definitions

N/A

- Procedure

  - Procedures:

- Take three chemical trips to a bag of infusion meant to be sterilized using paper tape.

- Place one strip on the top tray, one also at the middle and other to the lower tray.

- Allow the product to be autoclaved at 110oC, 1.7 bars and 60 minutes.  After the cycle, remove the strips and check.

  - Observation

- The colour will change from white to black and from unsafe side to safe side.

  - Conclusion:

Autoclaving is validated when the process can suitably render a constant result

- REFERENCE/ENCLOSURE

N/A

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |