- Objective:

This SOP describes the procedure to be followed in Calibration of Melting Point Apparatus

- Scope:

To provide written procedure for calibration of Melting Point Apparatus

- Responsibility/accountability:

QA Officer, QC Chemist, QA Manager

4.0 Abbreviations and Definitions

N/A

- Procedure

CALIBRATION PROCEDURE:

- Switch ON the mains.

- Set the Maximum temperature for Ibuprofen standard, using

- Fill Ibuprofen standard (previously dried over silica gel) into capillary tube

- Place the cauterized capillary tube into the heating chamber

- Put on the viewing light

- Monitor the sample through the viewing window to determine the temperature at which it melts.

- Record your readings

- Repeat the above steps for Nicotinamide, Sulfamethoxazole, Trimethoprim, and Diclofenac Sodium

- Materials, Equipment, Apparatus and Reagents

Capillary tube

Nicotinamide

Sulfamethoxazole

Trimethoprim

Diclofenac Sodium

Ibuprofen

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |