- Objective:

This SOP describes the procedure to be followed in Calibration of Refrigerator

- Scope:

To provide written procedure for calibration of Refrigerator

- Responsibility/accountability:

QA Officer, Microbiologist, QA Manager

4.0 Abbreviations and Definitions

N/A

- Procedure

CALIBRATION:

- Place the temperature standard probe/ thermometer in the appropriate middle of the chamber

- Allow ample equilibration

- Make sure the reading is within the range 20c-100c

- Record the reading displayed

- If the readings are satisfactory, placed the approved label.

- Record all data in the calibration sheet, ensuring that required persons sign against the calibration performed.

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |