- Objective:

To provide written guidelines for Cleaning and Operation of Water Bath

- Scope:

This SOP covers the process of Cleaning and Operation of Water Bath

- Responsibility/accountability:

Laboratory Attendant, Quality Control Chemist, Quality Assurance Manager

Superintendent Pharmacist/ Factory Manager.

4.0 Abbreviations and Definitions

N/A

- Procedure

Calibration

- Ensure that the instrument is clean

- Fill and check the water level, if required fill demineralized water to the acceptance level

- Switch “ON” the ring both by pressing “ON/OFF” switch.

- The digital temperature controller and indicator will indicate the actual temperature of water

- Set the desired temperature against standard thermometer at 370C, 500C and 900C.

- After completing calibration make entry in the calibration record of water bath.

PRECAUTIONS

- Do not operate without water

- Switch OFF when the instrument in not in use

Materials, Equipment, Apparatus and Reagents

- PPE’s

- Demineralised Water

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |