- Objective:

To lay down the guideline to follow for safety precaution in the Laboratory.

- Scope:

This SOP covers the procedure to follow safety precaution in the Laboratory.

- Responsibility/accountability:

Q.A Officer, Microbiologist, Chemist, Q.A. Manager, Supt. Pharmacist/ Factory Manager.

4.0 Abbreviations and Definitions

N/A

- Procedure

General Precautions

- Wear appropriate PPE

- Ensure there is no accumulation of water, oil or grease on the floor.

- Be prompt to clean any water spillage on the floor immediately.

- Proper safety measures and equipment must be followed during breakage of glass materials, cleaning of dust generating area.

- No naked wire or electrical appliances must be left unattended to in the Laboratory.

- Switch off the appliance when you notice unusual noise or after closing.

Chemical Laboratory

- When handling chemicals and reagents, wear appropriate PPE

- Ensure all reagents and chemicals are properly labeled.

- Do not use any unlabeled chemical or reagent.

- Handle all chemicals and reagents with care following manufacturer’s instruction on the pack.

- All used reagents and chemicals must be properly disposed. See SOP for waste management

- Fume cupboard exhaust must be on while using the fume cupboard.

- Never moist or pipette any substance with your mouth in the laboratory.

Microbiology Laboratory

- When entering into the microbiology laboratory all necessary PPE must be worn.

- wear appropriate PPE when handling chemical

- Ensure all reagents and chemicals are properly labeled.

- Clean and disinfect your hand from elbow down with soap and disinfectant.

- Follow good laboratory practice at all time.

- Never moist or pipette any substance with your mouth in the laboratory.

- Container properly covered with aluminum foil to prevent contamination.

- Any used substance e.g. cotton wool, must be properly disposed in the waste container.

- Never leave anything exposed on the floor or working table.

- All contaminated materials should be disinfected before proper washing and sterilization.

- Before exit any culture split on the floor or bench should be swabbed immediately with

Cotton wool soaked in disinfectant solution and properly disposes off in the waste

container.

- Remove gloves, nose mask and dispose of them appropriately.

- Always wash your hands with soap and disinfectant.

- REFERENCE/ENCLOSURE

N/A

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |