- Objective:

This SOP describes the procedure to be followed in Calibration of Incubator

- Scope:

To provide written procedure for calibration of Incubator

- Responsibility/accountability:

QA Officer, Microbiologist, QA Manager

4.0 Abbreviations and Definitions

N/A

- Procedure

CALIBRATION PROCEDURE:

- Check the thermostat if it actually set to the required temperatures (i.e. 250C for fungi growth and 370C for Bacteria.

- Check if the metal shelves are cleaned.

- Place 5 calibrated thermometer inside the incubator at different places

- Document your readings/ result

- Report to QA Manager immediately if there is lapses

Materials, Equipment, Apparatus and Reagents

Thermometer

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |