- Objective:

To provide the procedure for cleaning of Microbiology Laboratory

- Scope:

To provide written guidelines for cleaning of Microbiology Laboratory.

3.0 Responsibility/accountability:

Laboratory Assistant, Microbiologist, Quality Assurance Manager, Supt. Pharmacist/Factory Manager

4.0 Abbreviations and Definitions

- IPA: Isopropyl Alcohol

- Procedure

Precautions

- Perform the area cleaning and sanitation when there is no activity

- Handle the disinfectant carefully to avoid contact with skin and eyes. Use only validated disinfectants

- Do not use expired disinfectant solutions

- Rotate the disinfectants use to avoid the development of resistance by microorganisms

- Use separate lint free mop and fresh solution for cleaning of different area to avoid contamination of mop and solution

- Use only dedicated buckets/containers for preparation and filtration for different disinfectants

Preparation of disinfectant solution

- Take the required amount of disinfectant and add purified water to make up desired final volume

- Prepare the volume of disinfectant according to the use

Cleaning and sanitization

- Start  cleaning in the following sequence with lint free mop soaked with 70% v/v filtered IPA

- Outer surface of equipment

- Cabinet and accessories

- View glass windows and doors

- Empty waste bin (replace the plastic liner daily)

- Mop the floor with validated disinfectant with non-fiber shedding mop as per the following sequence as mentioned below;

- Inoculating room

- Preparatory room

- Incubation room

- Change room

- Inspect and ensure the cleanliness of the area and record

- Frequency: twice a day, beginning and at the end of working hours or whenever required

- Inspect and ensure the cleanliness of the area and record

Materials, Equipment, Apparatus and Reagents

- Deionized Water

- Soft Cloths

- Mops

- Buckets

- Soap

- Hypochlorite

- 70% IPA

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |