- Objective:

To provide written guidelines for cleaning and Operation of Laboratory Oven

- Scope:

This SOP covers the process of cleaning and Operation of Laboratory Oven used in Microbiology Laboratory.

3.0 Responsibility/accountability:

Laboratory Assistant, Quality Control Chemist, Quality Control Microbiologist, Quality Assurance Manager, Supt. Pharmacist.

4.0 Abbreviations and Definitions

PPE - Personal protective equipment

- Procedure

Cleaning Procedure:

- Disconnect from the power source.

- Wipe the surface, walls, top, bottom  and trays of the oven with dry lint free cloth soaked with 70%IPA on  daily basis so that there will be no dust particles in the oven

- Wrapped all the glassware to be used for microbiological analysis with foil paper.

- Lift the apparatus from its original position and clean the base.

- Return the apparatus /glassware to its original position

- Record the activity in the Laboratory Oven Cleaning Logbook (BML.QDF.MC.006-F01).

Operation Procedure:

- Ensure the cleanliness of the instrument

- Open the ventilation knob provided on top of the oven

- Connect the switch to main electrical supply.

- Set the thermostat to the required temperature.

- Select a medium of drying (i.e. low, medium or high) and turn the regulator anticlockwise to the selected medium.

- Ensure that glassware is properly arranged in the oven, when sterilizing.

- Ensure that the door is well closed when in use; allow cooling down naturally before the door is opened.

- Disconnect the cable from the main electricity supply.

- Record the activity in the Laboratory Oven Usage Logbook (LGB-QDF-MC-006).

Materials, Equipment, Apparatus and Reagents

- PPE

- Foil paper

- Cotton wool

- 70% IPA

- REFERENCE/ENCLOSURE

REFERENCE: EQUIPMENT MANUAL

ENCLOSURE 1- LABORATORY OVEN CLEANING LOGBOOK- (BML.QDF.MC.006-F01).

ENCLOSURE 2- LABORATORY OVEN USAGE LOGBOOK- (LGB-QDF-MC-006).

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |