- Objective:

This SOP describes the process of conducting acute toxicity test for PVC Pouches used in the manufacturing process of intravenous fluid.

- Scope:

To provide written guidelines for conducting acute toxicity test for PVC Pouches.

- Responsibility/accountability:

Laboratory assistant (pyrogenic unit), Microbiologist, Quality Assurance Manager and the Superintendent Pharmacist

4.0 Abbreviations and Definitions

PVC – Polyvinyl Chloride

5.0 Procedure

Test must be done on all batches of PVC pouches and stoppers for packaging of Infusions.

Preparation for the test

- Clean and disinfect the test cages with 2% soap solution, 10% disinfectant solution (Hypochlorite /Purity).

- Allow the test cage to dry for 10 minutes.

- Select out 6 healthy mice (17g - 22g) into the test cage, add feed and water and make them comfortable as much as possible.

- Cut the pouches into small shreds or pieces in a sterile conical flask and add WFI.

- Cover the lid properly with cotton wool and wrapped with aluminum foil to prevent contamination and sterilize as per sop for operation of Autoclave (BML-QDF-MC-007) and allow to stay for 24 hours

Method of conducting the test

- Inject intravenously at least 0.5ml of the pouches extract into each of the 5 mice via the back portion of the tail and mark them out.

- Inject likewise equal volume of sterile isotonic solution in to the sixth mice as control.

- Provide the same environmental condition for both experimental and control mice by keeping them in the same test cage.

- Observe any anomalies immediately after injection and 4 hours after injection, for 3 days.

Results interpretations

- The preparation passes the test if none of the mice dies within 72hours.

- If one mouse dies, repeat the test.

- If more than one mouse dies, the preparation fails the test.

- Record the observations made in the toxicity test record form BML-QDF-MC-018-F01.

- Complete the protocol format for acute toxicity test & submit it to the Q.C. Manager.

6.0 REFERENCE/ENCLOSURE

USP<88> Biological Reactivity Tests In-vivo

- ACUTE TOXICITY TEST RESULT FORMS- BML-QDF-MC-018-F01

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |