- Objective:

- To lay down written procedure for bio-burden testing of unsterilized bulk solution

- This procedure is performed to ascertain the microbial load in bulk solution before sterilization.

- Scope:

- This SOP is applicable for testing unsterilized bulk solution and unsterilized finished product.

- Responsibility/accountability:

- Microbiologist, Quality Assurance Manager, Supt. Pharmacist.

4.0 Abbreviations and Definitions

LAF – Laminar Airflow

TSA –Tryptone soy Agar

SDA –Sabouraud dextrose Agar

EMB – Eosin Methylene Blue Agar

- Procedure

- Prepare and sterilize media TSA, SDA and EMB as per respective SOP for media preparation

- Collect the samples for microbiological examination in pre sterilized glass bottles and label collected samples.

- Testing to be performed under LAF of specified area

- Arrange all the required material on the LAF before starting the test.

- Prepare six sterile plates for each sample to be tested

- Pipette out 1.0ml of sample into each sterile plate before adding molten medium

- Maintain molten medium at about 45°c before use

- Pour approximately 20ml sterilized molten agar medium into each plate

- Smoothly rotate the Petri dish clockwise and anti-clockwise to mix the sample evenly with molten agar. Allow the medium to solidify

- After medium is solidified, incubate the plates in an inverted position at 30° to 35°c for bacteria culture and 20° to 25°c for fungi culture, for 48 and 72 hours respectively

- Prepare a negative control using a sterile solution.

- Count all the colonies on the plates after incubation period with the help of a colony counter and record count as number of CFU/ml for each sample.

Frequency:

The test shall be performed not less than twice per week. This testing frequency has been justified and established based on historical monitoring data and trend analysis from previous years.

Reading and interpretation of results:

- Use pre-incubated media for all tests, where pre-incubated media are not possible to use incubate plates of the different media used as negative control along with the test samples

- The microbial growth should not exceed limit of 10cfu/ml if any, and there must be absent of pathogens.

- Record the activity/values of the unsterilized Bulk Solution results in the various products forms.

| S/no | Product | Unsterilized Bulk Solution Result Form No. |
| --- | --- | --- |
| 1 | Darrows full solution | BML-QA-STP-FPF-008-F04 |
| 2 | Isoplasma 4% solution | BML-QA-STP-FPF-014-F04 |
| 3 | Normal Saline (500ml) | BML-QA-STP-FPF-001-F04 |
| 4 | Dextrose 5% solution (500ml) | BML-QA-STP-FPF-003-F04 |
| 5 | Dextrose 5% Saline solution (500ml) | BML-QA-STP-FPF-002-F04 |
| 6 | Dextrose 4.3% saline | BML-QA-STP-FPF-012-F04 |
| 7 | Dextrose 10% solution | BML-QA-STP-FPF-013-F04 |
| 8 | Darrows half solution | BML-QA-STP-FPF-007-F04 |
| 9 | Mannitol 10% | BML-QA-STP-FPF-010-F04 |
| 10 | Mannitol 20% | BML-QA-STP-FPF-011-F04 |
| 11 | Ringers solution | BML-QA-STP-FPF-009-F04 |
| 12 | Biogyl solution | BML-QA-STP-FPF-015-F04 |
| 13 | Dextrose 50% solution | BML-QA-STP-FPF-018-F04 |
| 14 | Ciprofloxacin solution | BML-QA-STP-FPF-016-F04 |
| 15 | CAPD solution (1.5%) | BML-QA-STP-FPF-019-F04 |
| 16 | Fluconazole solution | BML-QA-STP-FPF-017-F04 |
| 17 | Normal Saline Solution (1000ml) | BML-QA-STP-FPF-004-F04 |
| 18 | Dextrose 5% solution (1000ml) | BML-QA-STP-FPF-006-F04 |
| 19 | Dextrose 5% Saline solution (1000ml) | BML-QA-STP-FPF-005-F04 |
| 20 | CAPD solution (1.5%) | BML-QA-STP-FPF-020-F04 |

Materials and Equipment:

- Culture Media (TSA, SDA, EMB)

- Portable Autoclave

- Incubator

- Hot air oven

- Culture plate

- LAF Cabinet

- Conical Flask and Beakers

- Measuring Cylinder

- Weighing Balance

- Distilled Water

- Foil Paper

- Paper Tape

- Sterile Sampling Bottles

6.0 REFERENCE/ENCLOSURE

BP 2024

UNSTERILIZED BULK SOLUTION RESULT FORMS- BML-QA-STP-FPF-(001…..020)-F04

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |