- Objective:

To provide written guidelines for microbial test on cartridge and whatmann filter.

- Scope:

This SOP covers the microbial test on cartridge and whatmann filter.

3.0 Responsibility/accountability:

Microbiologist, Quality assurance officer, Quality Assurance manager, superintendent pharmacist

4.0 Abbreviations and Definitions

- LAF – Laminar air flow

- WFI --- water for injection

- TSA --- Tryptone soy agar

- SDA --- Potato Dextrose agar

- EMB --- Eosin methylene blue agar

5.0 Procedure

Physical parameter

- nylon sealed and intact

- check the filter from any visible particles

Swab Analysis

- Prepare the media as per sop for media preparation

- The  sterile swabbing stick case should be labeled with the point to be swabbed

- At the swabbing point, the seal of the swab should be detached and the point is being rubbed with the cotton wool end of the swab aseptically in unidirectional movements

- The swab should then be replaced back to its case and taken to the laboratory for analysis

- Place the swab in another sterile test tube containing 10ml of WFI

- Shake the tube gently and let it stand for 15 mins

- Arrange all the sterilized media at 45oc on the LAF before starting the test.

- Remove the swab from the test tube and analyze the water

- Under the lamina flow, pipette 1ml of the aliquot into the labelled sterile petri plates and flood it with the prepared TSA, SDA and EMB media respectively, swirled and allow to set.

- Prepare a negative control by pipetting 1ml of the sterile WFI in petri dish and flood with the sterile media and incubate all inoculated plates invertly at 30 – 35oc for 24-48 hours for TSA and EMB plates and 20 – 25oc for 72hours for SDA plates

Total viable count

- Sample water for injection as per sop for sampling of water

- Sample water for injection as per sop for sampling of water

- Transfer to the laboratory

- Under LAF, aseptically dip the filter inside the sterile WFI water and allow to stand for 15 mins

- Aseptically Remove the filter from the flask and analyze the water

- pipette 1ml of the aliquot into the labelled sterile petri plates and flood it with the prepared TSA, SDA and EMB media respectively, swirled and allow to set

- Prepare a negative control by pipetting 1ml of the sterile WFI in petri dish and pour 15 to 20ml of the sterile media and incubate all inoculated plates invertly at 30 – 35oc for 24-48hours for TSA and EMB plates and 20 – 25oc for 72 hours for SDA plates

REPORTING

There should be absence of bacterial, fungal and pathogens on the filter

6.0 REFERENCE/ENCLOSURE

INHOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |