- Objective:

To lay down a procedure for procurement, maintenance and handling of microbial cultures

- Scope:

This procedure is applicable to all microbial cultures used in the microbiology lab.

3.0 Responsibility/accountability:

Microbiologist, QC head, Quality Assurance Manager and Supt. Pharmacist

4.0 Abbreviations and Definitions

- Nil

5.0 Procedure

5.1       Procurement and Confirmation of Master Cultures:

Procurement and Confirmation of Master Cultures:

- All master cultures shall be procured from any one of the following authorized national culture collection institutes

- Institute of microbial technology(IMTECH),Chandigarh

- National Collection of industrial microorganisms (NCIM),pune

- American Type Culture collection(ATCC),USA

- The master cultures shall be received in the form of slants/lyophilized

- On receipt of the microbial cultures ensure that the certificate of analysis is received along with each set of microbial cultures and verify the culture details like ATCC/NCTC/NCIM numbers, expiry date, and storage condition in COA with that the label information on cultures. If the details are matching then receive the cultures, label the received cultures with its appropriate details

- Store all the received microbial cultures at 2oc to 8oc in the refrigerator

- The identification  and confirmation of master cultures shall be done by the following tests

- Lyophilized cultures are revived as per the manufacturer’s instructions

- For Bacterial cultures, streak reconstituted culture onto the surface of two sterile soya bean casein digest agar plates and incubate bacterial culture at 30 – 35oc for 24hours.One plate is used for identification tests and the other is used for sub culturing purposes

- For fungal cultures, streak reconstituted culture onto the surface of two sterile potato dextrose agar/ sabouraud dextrose agar plates and incubate at 20 – 25oc for 72hours. One plate is used for identification tests and the other is used for sub culturing purposes

- After completion of the incubation period perform the identification and confirmation tests as per sop for identification of microorganisms from one plate and store the other plate in a refrigerator at 2-8oc

- After confirmation of master culture’s identification tests proceeds for sub culturing.

  - Preparation of slants:

- Prepare Nutrient Agar and potato Dextrose agar/sabouraud dextrose agar slants by using sterile McCartney bottles

- Prepare the required quantity of media as per sop for  culture media preparation

- Boil the media and dispense 20ml each into the McCartney bottles and sterilize as per sop for bucket Autoclave sterilization

- For the preparation of slants, after sterilization keep all the bottles in a slanting position for solidification on the glass rod under the laminar air flow

- After solidification, incubate the nutrient agar slants at 30 – 35oc for 24 hours and potato dextrose agar slants at 20 – 25oc for 48 hours to check the sterility of the slants (pre- incubation)

- After confirming the sterility of the slants use them for sub culturing

5.3            Sub – culturing and Maintenance of Microbial Cultures:

- Take the  sub cultured plates of all cultures from the refrigerator and allow them to attain room temperature under a laminar airflow cabinet

- Label the freshly prepared sterile slants as stock culture, working culture and identification culture

- Sub culture by taking a loopful of an isolated colony from a revived petri plate and streak on six slants and incubate all slants appropriately

- Label the first slant as stock culture, and second slant as identification culture and the remaining four slants as working culture-1 to working culture- iv

- Use stock culture for sub culturing of weekly cultures for next month

- Use identification culture slant for biochemical tests and staining techniques, identification should be performed for every passage before working cultures are used for routine analysis

- Working cultures shall be used for routine analysis and for culture suspension preparation. Use working culture-1 for the first week, working culture-ii for the second week, working culture-iii for the third week and working culture-iv for the fourth week

- Before the expiration of the validity of the working cultures, the next set of stock, identification and working cultures shall be sub cultured from the previous stock cultures

- The validity of the stock cultures shall be one month from the date of release, each working culture shall be seven days from the day of usage, and the identification culture shall be valid until the completion of identification tests.

- Once the next passage stock, identification and working cultures are released the previous passage cultures shall be discarded as per sop for discarding of culture media

- The above procedure is considered as one passage and not more than four passages shall be performed

- Only five passages shall be made from the original strain

- The procured master culture is considered as the first passage

- Before the completion of the fifth passage, new cultures are to be procured

- Master cultures shall be stored till the completion of the fifth passage of working cultures

- Master cultures and all its slants shall be stored at 2-8oc.

Precautions:

- Handle the microbial cultures carefully as they are biohazardous

- Cultures are used in the form of slants, liquid cultures and viable spores

- Always use sterile gloves, nose masks and goggles while handling cultures

- If any accidental spillage occurs, disinfect the area and clean the surfaces with 70% IPA

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |