- OBJECTIVE:

To lay down the standard operating procedures for cleaning and sanitization of manufacturing and primary packing area.

- SCOPE:

This SOP covers all the cleaning and sanitization of entire area in the production area.

- RESPONSIBILITIES/ACCOUNTABILITIES:

- Production is responsible for the implementation of this sop.

- Head Production is responsible for compliance with this sop.

- IPQA is responsible for compliance with this sop

- ABBREVIATION AND DEFINITIONS

NIL

- PROCEDURES

General:

All drains in the factory are marked and locations of each drain are noted. Solid waste must not be passed through the marked drains, in case of any drain blockage the production supervisor or foreman shall report such to the technical department and the production pharmacist. All drains must be covered properly to prevent entry of insects and rodents into the factory premises.

Precaution:

- Avoid standing water. Keep the area dry.

- The area having no activity must be cleaned once every working day as per respective frequency and procedure.

- Cleaning and sanitization of area where product directly exposed to the environment:

- Remove unwanted material

Frequency:

- Once in a day at shift end

- ﻿﻿Product changeover

- Batch changes over

- Routine cleaning

- ﻿﻿After maintenance activity

- Re-cleaning

Cleaning procedure

- Ensure that accessories or empty containers used are transferred to the washing area.

- Ensure that the previous Batch document BMR / BPR is removed from the area.

- Ensure that previous batch material is removed from the area.

Ceiling, air inlet, grills, tube light fixtures cleaning where applicable

Frequency:

-  Once in a day at shift end

- clean the ceiling, air inlet grill, and tube light fixture by using a mop with a lint-free dryer Duster.

Wall cleaning where applicable

Frequency:

- Product changeover

- Clean the wall using a mop with a dry lint-free Duster.

Electrical fitting pipelines, pendant cleaning:

Frequency:

- Routine cleaning

- Clean the electrical fitting with a dry lint-free Duster.

- Wipe pipelines and pendant using a lint-free Duster (use a mop with dryer lint-free Duster if required).

Doors, glass panels SS Cupboards racks working table, platform, pallet cleaning:

Frequency:

- Once in a day at shift end

- Product changeover

- Routine cleaning

- Clean those glasses and Panels using glass cleaner solution and dry lint-free dry Duster.

- Clean the SS Cupboards, rack, working table, platform, and pallets by using a dry lint-free duster.

Waste Bin cleaning:

Frequency:

- ﻿﻿Once in a day at shift end

- ﻿﻿Product change over

- Batch changes over

- After maintenance activity

- Re-cleaning

- Remove poly bags containing the waste, for example (poly bags, paper, cable tie, etc.) from the waste Bin and clean the waste Bin with a dry lint-free Duster.

- Close the poly bag and transfer it to the scrap area within an appropriate label.

- Put the fresh poly bag in the waste Bin for collection of waste.

Floor cleaning with 2% soap solution:

Frequency:

- Once in a shift

- Product changeover

- ﻿﻿Batch changeover

- After maintenance activity

- Re-cleaning

- Clean the floor using a dry lint-free Duster or sweeping brush.

- Clean the floor covering below machine Foundation, Tables, Cupboards, etc., using lint-free Duster socked in 2% v/v liquid soap solution.

Floor sanitization:

Frequency:

- On a day at Shift end

- During product changeover

- Sanitize the floor covering below machine Foundation, tables cupboard, etc., using lint-free Duster shocked in a scheduled disinfectant solution

Drain cleaning and sanitization:

Frequency:

- During lunch break

- At the end of Shift

- To clean and sanitize the drain, remove the SS plate and sieve over the drain and & ‘U’ trap.

- Clean SS plate,”U” traps using lint-free Duster soaked in 2% v/v liquid soap solution.

- Rinse with soft water.

- Flush the drain with about 20-litre soft water.

- Prepare a 5% w/v solution of sodium hypochlorite.

- Pour 2.0 liter of the disinfectant solution in a gully trap.

- Use the disinfectant solution on an alternate weekly basis prepares as per the standard operating procedure for the preparation of the disinfectant solution.

- Allow the sanitizing solution to remain in the drains for at least 30-45minutes before rinsing the drains by pouring soft water into it.

- Ascertain the effectiveness of the sanitization process by swabbing the surface of the drains near the opening of the cleaned and sanitized drains.

- Assemble the sieve and “U’ trap.

- Cover the drain with the SS plate.

- Record the cleaning detail as per annexure cleaning and sanitization record of area where the product does not directly expose to environmental cleaning and sanitization of the area where the product is directly exposed to the environment.

- After external party calibration, cleaning is to be performed as per a schedule of running and is to be updated in a Records, “cleaning, and sanitization of manufacturing and primary packing area”.

- Remarks column is to be done an update with appropriate comment cleaning and sanitization of the area where the product does not directly expose to the environment after calibration of equipment and instrument by an external party.

- After external party calibration, cleaning is to be performed as per schedule, on (once in a day at shift end) and is to be updated in another cleaning and sanitization of manufacturing and primary packing area remark in the column is to be updated with stable comment.

- REQUIRED MATERIALS:

- Personnel Protective Equipment’s (PPE), Cleaning brush, Plastic buckets and plastic funnel.

- REFERENCE AND ENCLOSURE

Annexure 1 -

7.0 TRAINING INVOLVEMENT

| All sectional heads | All IPQA officers |
| --- | --- |
| QA Doc. Unit staff | All House keeper |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |

Annexure I

|  | Quality Assurance Department | Document Code: BML/QA/GCL/19.001 |  |
| --- | --- | --- | --- |
|  |  | Version Number: 001 |  |
|  |  | SOP Ref No.: BML/QA/006 |  |
|  | Title : General Cleaning Record | Form No. | GCL001 |
| Date | Cleaning materials | Done by | Checked by |

Annexure 2

DAILY CLEANING WEEK OF _________________SIGNATURE________________DATE_________

| LABORATORY | M | T | W | TH | F | ## Notes |
| --- | --- | --- | --- | --- | --- | --- |
| #### CHEMICAL/ MICRO/ QC LOBBY |  |  |  |  |  |  |
| Dust Horizontal Surfaces, Stabilizer & Computer |  |  |  |  |  |  |
| Empty Wastebaskets |  |  |  |  |  |  |
| Disinfect/Clean Desks & Tables |  |  |  |  |  |  |
| Sweep Floor |  |  |  |  |  |  |
| Disinfect/Clean Sink & Drinking Fountain |  |  |  |  |  |  |
| Clean Windows |  |  |  |  |  |  |
| Close/Lock Windows & Doors |  |  |  |  |  |  |
| Floors Mopped |  |  |  |  |  |  |
| Spot Clean Walls & Doors |  |  |  |  |  |  |
| Replace Burned Out Bulbs |  |  |  |  |  |  |

| BATHROOM & LOCKEROOM | M | T | W | TH | F | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| FEMALE / MALE CLOAK ROOM/ TOILET |  |  |  |  |  |  |
| # Sweep Floor |  |  |  |  |  |  |
| # Clean Mirrors |  |  |  |  |  |  |
| # Empty Wastebaskets |  |  |  |  |  |  |
| # Disinfect/Clean Toilets/Seat & Urinals |  |  |  |  |  |  |
| # Disinfect/Clean Sinks |  |  |  |  |  |  |
| # Refill - Paper Towels, Toilet Paper & Soap |  |  |  |  |  |  |
| # Disinfect/Clean Partitions |  |  |  |  |  |  |
| # Disinfect/Clean All Walls |  |  |  |  |  |  |
| # Disinfect/Clean Floor with Mop |  |  |  |  |  |  |
| # Replace Burned Out Bulbs |  |  |  |  |  |  |
| # Spot Clean Walls & Lockers |  |  |  |  |  |  |

| ENTRYWAYS | M | T | W | TH | F | ## Notes |
| --- | --- | --- | --- | --- | --- | --- |
| #### AREA |  |  |  |  |  |  |
| Empty Wastebaskets |  |  |  |  |  |  |
| Sweep Floor |  |  |  |  |  |  |
| Disinfect/Clean Doors |  |  |  |  |  |  |
| Disinfect/Clean Doors & Windows |  |  |  |  |  |  |
| Spot Clean Walls |  |  |  |  |  |  |
| Wash/Mop Area |  |  |  |  |  |  |
| Replace Burned Out Lights |  |  |  |  |  |  |
| On Insectrocutor |  |  |  |  |  |  |

| LOADING AND OFFLOADING AREA | M | T | W | TH | F | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| AREA |  |  |  |  |  |  |
| # Empty Wastebaskets |  |  |  |  |  |  |
| # Sweep/Vacuum hallways |  |  |  |  |  |  |
| # Wash/Mop Area |  |  |  |  |  |  |
| # Spot Mop Autoclaving area |  |  |  |  |  |  |
| # Disinfect/Clean water drainage |  |  |  |  |  |  |
| # Disinfect/Clean water dispenser |  |  |  |  |  |  |
| # Disinfect/Clean Doors & Glass |  |  |  |  |  |  |
| # Spot Clean Walls & Lockers |  |  |  |  |  |  |
| # Replace Burned Out Bulbs |  |  |  |  |  |  |

Annexure 1

TITLE: SANITIZATION OF FACTORY FLOOR DRAINS RECORD

| Sanitization of factory floor drains |  | Doc code No. | BML/QA/EN/001 |
| --- | --- | --- | --- |
|  |  | Forms number | FFDR001 |
|  |  | SOP Reference No.: | BML/QA/007 |
| Date | Drains Location | Sanitized by | Checked by QA |