- OBJECTIVE:

To describe a procedure for preparation and testing of disinfection solutions

- SCOPE:

- This procedure is applicable to all disinfectant solution prepared for use in BIOMEDICAL Limited Ilorin.

- The microbiologist and other user appointed personnel shall be responsible for the preparation and testing of the disinfectant

- RESPONSIBILITIES/ACCOUNTABILITIES:

- Microbiologist, Chemist, Q.A. Officer, Quality Assurance Manager, Supt. Pharmacist/Factory Manager.

- ABBREVIATION AND DEFINITIONS

- TSA: tryptone soya agar

- SDA: sabouraud dextrose gar

- STP: standard testing procedure

- SOP: standard operating procedure

- IPA: Iso-propyl Alcohol

- v/v :volume by volume

- w/v:volume by weight

- USP: united state pharmacopeia

- Procedure

  - Preparation of 0.1% Teepol solution

- Take 10 ml teepol in 10 liters cleaned plastic container.

- Then dilute it up to 10 liters with distilled water.

- Mix the solution uniformly with a glass rod.

- Label the container and keep in a separate area.

- Teepol solution is used for Cleaning of drains, floors, lavatories and general cleaning.

  - Preparation of 70% I.P.A (Isopropyl Alcohol)

- Into a clean container add required calculated volume of purified water and quantity of disinfectant, e.g.27.09ml of purified water and 72.91 ml for 96 % ethanol using graduated measuring cylinder.

- Stir properly to using stainless rod to form homogenous solution.

- Prepare the quantity as par the requirement for use, store in a tight container.

- Do not store for more than 2 days.

  - Preparation of 2.5% Lysol

- Take 250 ml of lysol in measuring cylinder.

- Take 25.0 liters of distilled water in a container.

- Add lysol solution in the distilled water container and mix well.

- Label the container and keep in a separate area.

  - Preparation of 2.5% Gramicide

- Take 250 ml of gramicide in measuring cylinder.

- Take 25.0 liters of distilled water in a container.

- Add gramicide solution in the distilled water container and mix well.

- Label the container and keep in a separate area.

  - Preparation of hypochlorite solution: 1 %

- Weigh 1.5g of the granulated HTH powder into 100 ml of purified water in a clean container [For HTH of 67 %

- Stir till the HTH dissolves completely using stainless rod/ glass rod.

- Allow the solution to stand for 30 minutes.

- Store away from sunlight in a tight container.

- Pour away left over after 2weeks of preparation in drains and flush with water.

- Bio burden test for disinfectant

- Add I0.0 ml of the in-use disinfectant into a sterile bottle containing 90.0 ml of sterile peptone water containing tween 80.

- Inoculate 0.2ml of the resulting solution into sterile Petri dish, add 20-25ml of prepared 	medium of TSA and SDA, allow to Gel.

- Incubate at 32.5OC (+2.5oC) and 22.5OC (+2.5oC)   for 3 days and 7 days respectively.

- Monitor the plates for growth of microorganism.

- Growth of more than 5cfu or more than suggest viable microbial cells existed in the disinfectant solution thus is contaminated.

- Such disinfectant failed and shall be discarded

- Tube dilution method

- Prepare  suspension of the microorganisms  for the test [ approximately 106-108 ]

- Prepare the use dilution of the disinfectant.

- Into a clean labelled sterile screw cap test tube add 10 ml of the disinfectant.

- Serially dilute the disinfectant.

- Add 0.1 ml of 24 hours broth culture of the test microorganisms to all the tubes.

- Incubate the tubes at 30-35 o C for 24- 48 hours

- Observe the tubes for evidence of growth and record the observation

- Each disinfectant and dilution thereof, to be qualified should be challenged by reference organisms [S. aureus, P. aeruginosa, E.coli. Etc.]

- This typically includes standard USP organisms: Staphylococcus aureus, Escherichia coli, Pseudomonas aeruginosa, Bacillus subtilis (spore), Candida albicans and Aspergilus brasiliensis.

- The testing should also include environmental isolates from the critical area collected from environmental monitoring of the facility or critical area.

  - Safety precautions:

- Use proper safety apparel such as gowns, rubber hand gloves and safety goggles during preparation

- While preparing disinfectant solutions always add disinfectant to the water.

- Testing should be conducted in microbiological laboratory using appropriate standard testing procedure.

- REFERENCE AND ENCLOSURE

In-house Method

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |